CHECK LIST FOR INSPECTION OF IHHL

| I. | Beneficiary Details : |  |  |
| --- | --- | --- | --- |
| a) | Name of the Beneficiary | : |  |
| b) | Habitation: Village Panchayat: Block: District: |  |  |
| c) | Whether name found in Master Register | : | Yes / No |
| d) | Work Order No. & Date | : |  |
| e) | Scheme | : | SBM(G) / MGNREGS |
| f) | TNRD Website work ID No. (To be filled up in office, if not readily available) |  |  |
| II. | Field Observation of IHHL work : |  |  |
| a) | Specify Present Stage | : |  |
| b) | Whether ‘marking’ done before commencement |  | Yes / No |
| c) | Whether photo taken before commencement | : | Yes / No |
| III. Sub-Structure Verification: - Leach Pit Model |  |  |  |
| a) | Whether two leach pits constructed? | : | Yes / No |
| b) | Whether depth & diameter of leach pit is as per type design? | : | Yes / No |
| c) | Whether atleast 1 metre gap is there between two leach pits? | : | Yes / No |
| d) | Whether Junction Chamber constructed properly and connection to one pit closed? | : | Yes / No |
| e) | In case of circular rings, whether there are sufficient holes to allow water to percolate? | : | Yes / No |
| f) | Whether floor of the Pit is plastered? | : | Yes/No |
| - Septic Tank Model : |  |  |  |
| a) | Whether Baffle Wall constructed inside Septic Tank? | : | Yes / No |
| b) | Whether Soak Pit constructed and connected to Septic Tank? | : | Yes / No |
| c) | Whether Vent Pipe provided? | : | Yes / No |

| IV. Superstructure Verification: |  |  |  |
| --- | --- | --- | --- |
| a) | Whether basement plinth of toilet is atleast 9” above ground level? | : | Yes / No |
| b) | Whether closet connected with P-Trap and has water seal? | : | Yes / No |
| c) | Whether the door could be locked from inside? | : | Yes / No |
| d) | Whether sufficient ventilation available? | : | Yes / No |
| V. Completed Works : |  |  |  |
| e) | Whether completed in all respects during inspection? | : | Yes / No |
| f) | Whether photo taken after completion? | : | Yes / No |
| VI. | Release of Subsidy |  |  |
| g) | Details of making payment to beneficiary: | : | Amount; Date. Part Payment (Upto Basement Level). Final Payment. |
| VII | Whether toilet is being used? | : | Yes / By few members of Household only / Not used at all |
| a) | If yes, is it being maintained properly? | : | Clean / Not Clean |
| b) | If No, Reason(s) for not being used |  | (Put √ mark) |
|  | i) Incomplete (Specify the Stage) | : |  |
|  | ii) Defective construction (Specify) | : |  |
|  | iii) No water supply (even by pot) | : |  |
|  | iv) Beneficiary not willing | : |  |
|  | v) Beneficiary fears pit will fill up soon | : |  |
|  | vi) Other reasons (Specify) | : |  |

Name	 of Inspecting Officer	:

Designation			:

Date of Inspection		:

Signature				: